Chicago, EFI/EDG, July 10th 2007.

J-F Genat

Simulations of several time picking methods using Matlab.

1- Simulation package under Matlab

The simulation package (Simtime) implements five different time picking strategies:

- Fixed threshold on leading edge

- Ideal constant fraction threshold

- Actual constant fraction as zero-cross of  (delayed – attenuated) input

- Multiple fixed thresholds on leading edge

- Full pulse sampling and reconstruction

Input is a triangular waveform to which noise is added as a sum of parallel, serial, 1/f contributions. It is processed through a charge integrator and a CR-(RC2) shaper.

Two Landau amplitude distributions (1 and 2)  are used

Figure  1  Amplitude spectra 1 and 2  (1000 is one MIP).

In the following simulations, leading edge, actual constant fraction and multiple thresholds have been used and are compared, in the same detector and electronics

conditions.

Time resolution is mainly sensitive to:

- signals rise time

- shapers peaking time

- signal to noise ratio

- noises spectral distributions

- pulses amplitudes distribution

and obviously time picking method parameters such as thresholds, sampling frequencies.

2- Simulations

The following parameters have been used in the simulations:

Detector parameters:

telec=5e-9;					Rise time

thole=25e-9;				Fall time

C=10e-12;					Detector capacitance

Ileak=1e-8;					Leakage current

Rbias=2e6;					Biaising resistor

T=300;					Absolute temperature

Electronics parameters

A=1e4;    					Charge Amplifier Open loop gain

gbw=1e12;					Amplifier Gain/bandwidth product

Cf=133e-15; 				Feedback capacitor

Id=50e-6;					Input stage current

gm=.7e-3;					Transconductance of input FET

nadc=16;					ADC number of bits

% Strong inversion

Samp=8*(1.38e-23)*300/(3*gm);		Spectral serial noise density  (SI)

% Weak inversion

Samp=(2/3)*Samp; 				Spectral serial noise density  (WI)

kf=1e-24;					Flicker noise coefficient (current)

af=1;						Flicker noise exponent

ef=1;						Flicker noise exponent

L=250e-9;					Length of channel input FET

tox=5e-9;					Width

Cox=3.45*1e-11/tox;			Oxide capacitor (unit area)

kf=kf/gm^2;					Flicker noise (voltage)

taumin=30e-9; taumax=30e-9; taustep=30e-9;

Shaper’s peaking time range

Single threshold

th=0.4;					Threshold (Fraction of a MIP)

Gq=-1/(Cf*(1+1/A)+C/A);			Charge gain

thresh=-Gq*th*25000*1.6e-19;		Absolute threshold

CFD

frac=0.5;					Threshold for CFD trigger

thresh=0.4;

delay=10e-9;				Delay for CFD differentiation

Edge

th=[0.1 0.2 0.3 0.4];			Thresholds (Fraction of a MIP)

thresh=-Gq*th*25000*1.6e-19;		Absolute thresholds

Sampling

nmin=12;					Minimum number of points

nmax=12;					Maximum number of points

Figure 1  illustrates Multiple Threshold and Sampling methods.

Figure   2   Multiple Thresholds  and  Sampling

3- Results

Simulations were run with 100 samples for a given method, signal to noise, and associated parameters.

Figure 3    Typical  time  errors  histogram  using   4- thresholds

Figure 4   Time resolution as a function of Signal to Noise ratio (distribution 1)

Figure 5   Multiple-thresholds  resolution  vs  number of thresholds (S/N=30)

4- Conclusions

Under the assumptions above, the best method (also the most heavy in terms of practical implementation) is clearly  sampling. Just after, constant fraction,  then  4-thresholds,  (surprisingly sensitive to high noise levels), and  last, single threshold. With multiple-thresholds, increasing the number of thresholds above 4 does not improve significantly.

Table 1 show results for a typical signal to noise 30 and 30ns peaking time using amplitudes distribution 1 and 2.

| Method | Time resolution (ps) dist 1 dist2 |
| --- | --- |
| Single threshold | 1559 |
| Constant fraction | 1095 |
| Multiple thresholds | 1223 |
| Sampling | 791 |

Table 1